## OH Bank
Detailed BOM for OH System
1.3 Capacitors | Vendor | Model | #
Capacitor | Richardson | NL485-20KV | 6
Ring terminals | McMaster | 9388K43 | 24
Post terminal | Custom | PCaF001-OH | 6
Fuse Wire | MWS | AWG 15 | 24
Return Bus to Capacitor Bolt | McMaster | 90273A541 | 24
Fuse Bolts to Bus | McMaster | 90273A194 | 24
Fuse ring terminal to bus | McMaster | 9388K43 | 24
Fuse ring terminal to capacitor | McMaster | 7113K473 | 6
Bleed resistor | Ohmite | Ohmite Mox-G | 6
Burn guard | Coorstek | 66457 | 6
HV Wire | DaBurn | CRT18-10 | 6
1.4 Forward Switches | Vendor | Model | #
Ignitron | Richardson | NL8900 | 2
Ignitron driver | Richardson | IG5F | 2
Transformer | Surplus Sales | (TP) 1/8-11T35ST | 1
Anode heater | McMaster | 3110K93 | 2
Lightbulb Holder | WSI | PSwA001 | 2
Lightbulb Clamp | WSI | PSwA001 | 2
Ignitron Cage | WSI | PSwC001 | 2
HV Wire | DaBurn | CRT18-10 | 10
Water plumbing | WSI | PSwW001 | 1
Water flow switch | McMaster | 2660K22 | 1
Mounting Bolts | McMaster | 90128A223 | 28
Mounting Nuts | McMaster | 90480A011 | 28
Water chiller | Amazon | JB1111 | 1
1.5 Crowbar Switches | Vendor | Model | #
Ignitron | Richardson | NL8900 | 2
Ignitron driver | Richardson | IG5F | 2
Transformer | Surplus Sales | Topaz | 1
Anode heater | WSI | PSwA001 | 2
Lightbulb Holder | WSI | PSwA001 | 2
Lightbulb Clamp | WSI | PSwA001 | 2
Ignitron Cage | WSI | PSwC002 | 2
HV Wire | DaBurn | CRT18-10 | 10
Water plumbing | WSI | PSwW001 | 1
Water flow switch | WSI | PSwW001 | 1
Hardware | WSI | PSwW001 | 83
1.6 Buswork | Vendor | Model | #
Pallet | Global | WB442884 | 2
Pallet cover / G10/ tub etc | eplastics | G10NAT0.060X24X48 | 2
Upper bus | WSI | PBuB001-OH | 1
Return bus (Lower Bus) | WSI | PBuB002-OH | 1
Vertical Bus Bar | WSI | PBuB004-OH | 1
Switch mount header & cage (1/mod) | WSI | PBuS001-OH | 1
Crowbar mount header & cage (1/mod) | WSI | PSwC002-OH | 1
Capacitor to Bus Adapter | WSI | PCaA001-OH | 12
Cable Header bus plate upper | WSI | PBuH001-OHEF | 1
Cable Header bus plate lower | WSI | PBuH002-OHEF | 1
Cable Header Standoff | WSI | PBuH003 | 2
Cable Header Support | WSI | PBuH004 | 2
Fiberglass Hex Nuts | McMaster | 91395A031 | 8
Safety resistor (stainless bus) | WSI | PBuR001-OH | 1
Mylar sheet | WSI | PBuB003-OH | 1
Tension straps for caps | McMaster | 29665T13 | 6
Vertical Bus Supports | WSI | PBuR002-OH | 2
G10 clamps for hot bus | WSI | PBuC001 PBuC002-OH | 30
Threaded Fiberglass Rod | WSI | PBuC003 | 24
Fiberglass Hex Nuts | McMaster | 91395A031 | 60
Bolts to downbus / resistor | McMaster | 90273A541 | 12
Oversize washers | McMaster | 90313A107 | 12
Hex Nuts | McMaster | 90473A029 | 12
Ground braid | WSI | PBuG001 | 1
1.7 Charge | Vendor | Model/Spec | #
Supply rack
Charge connect enclosure | Grainger | CQ1602Q
Bolts | McMaster | 90273A541 | 2
Ring terminal | McMaster | 7113K242 | 2
Nuts | McMaster | 90473A029 | 2
1.8 Dump | Vendor | Model | #
Tank | Staples | 182615CW135 | 2
Tank Lid | Staples | 1826CCW135 | 2
Copper Sulfate Pentahydrate | Amazon | Alpha Chemicals | 4
Electrode Bolts | McMaster | PDuD001 | 4
Electrode Nuts | McMaster | PDuD002 | 4
Water dump relays - 2 per switch | Ross | E-Series | 2
Bolts for relay mounting | McMaster | 90128A223 | 12
Nuts for relay mounting | McMaster | 90480A011 | 12
Manual dump/safing stick - 1 per switch | HVR | PDuS001 | 1
Manual dump point - 1 per switch | McMaster | PDuS002 | 1
Dump relay mounting board - 1 per switch | eplastics | G10NAT0.060X24X48 | 1
Ground disconnect relay | Ross | E-Series | 1
NEMA Box | McMaster | 7561K64 | 2
AC Jack (IEC Plug panel mount) | Mouser | FN9222-12-06 | 2
Transformer | Surplus Sales | (TP) 1/8-11T35ST | 1
Fiber Reciever Board | WSI | WFiR001 | 2
Project Box | WSI | WFiR001 | 2
1.9 Harnessing | Vendor | Model | #
Cables (total feet) | Dielectric Sciences | SK160114-R1 | 500
Cable trays, supports | Mcmaster | 30065T13 | 5
Outer cable connector | WSI | PHaC001 | 10
Inner cable connector | WSI | PHaC002 | 10
Bolts for inner and outer connectors | McMaster | 90128A223 | 140
Oversize Washers | McMaster | 90313A400 | 140
Hex nuts | McMaster | 90480A011 | 120
Strain relief | McMaster | 9402T61 | 20
Hardware/ties, etc | McMaster | 6912K54 | 50
1.10 Polarity Switch | Vendor | Model | #
Enclosure | NEMA |  | 0
Interlock switch (verify lid closed - necessary?) | Digikey |  | 0
Knife switch - dpdt | Shop |  | 0
Connector | Shop |  | 0
Mounting hardware | McMaster |  | 0
1.11 Diagnostics | Vendor | Model | #
Analogue voltage monitor per switch | Digikey | 180-1069-ND | 1
I$_{monitor}$ per switch | PEM | See sep spec | 1
Slow V$_{monitor}$ per switch | WSI | See sep spec | 1
T current limiting ss bus resistor | WSI | See sep spec | 1
Water temp monitor - one for experiment | WSI | See sep spec | 1
Water dump temp monitor - 1 per sw. | WSI | See sep spec | 1
Thermistor/ T to V for anode | WSI | See sep spec | 1
Project Box | Digikey | See sep spec | 2
1.12 Interlocks | Vendor | Model | #
Kirk key box - one per enclosure | Kirk |  | 1
Wiring - Kirk key controls power to charge supply and dump relays | Digikey |  | 1
Misc hardware | McMaster |  | 100
Indicator lights in control room | Allied | See range | 3
Indicator lights at enclosure door | Allied | See range | 3

## EF Bank
|  |  | EF FULL OPS | EF DAY 1
1.3 Capacitors | Vendor | Model | # | #
Capacitor |  | NL55650-1.4KV | 8 | 2
Ring terminals | McMaster | 9388K43 | 32 | 8
Post terminal | Custom | PCaF001-EF | 8 | 2
Fuse Wire | McMaster | AWG 15 | 32 | 8
Return Bus to Capacitor Bolt | McMaster | 90273A541 | 8 | 2
Fuse Bolts to Bus | McMaster | 90273A194 | 32 | 8
Fuse ring terminal | McMaster | 1932-08-01 | 24 | 24
Bleed resistor | Ohmite | Ohmite Mox-F | 8 | 2
Burn guard | Coorstek | 66457 | 8 | 2
HV Wire | DaBurn | CRT18-10 | 6 | 6
Post terminal | Custom | Wire ?, Post 14mm | 8 | 8
Capacitor to Bus Adapter | Custom | PCaA001-EF | 16 | 4
1.4 Switches | Vendor | Model | # | #
Thyristor | 5SComp./ABB | 5STP 50Q1800 | 1 | 1
Compression mount | 5SComp./ABB | 5SAC 18V9021 | 1 | 1
Trigger | WSI Custom | PSwT001 | 1 | 1
Optical fiber | Fibertronics | PC-HH6S30V25M | 0 | 0
Water plumbing | McMaster |  | 1 | 1
Water flow switch | McMaster | 2660K22 | 1 | 1
Hardware | McMaster |  | 60 | 60
1.5 Diodes (crowbar) | Vendor | Model | # | #
High voltage, high current 'pucks' Updated | 5S/ABB | 5SDD 60N2800 | 3 | 3
Compression mount Updated | 5S/ABB | 5SAC 18V9021 | 3 | 3
Compression Mount bottom | 5S/ABB |  | 3 | 3
Bus | WSI |  | 1 | 1
1.6 Buswork | Vendor | Model | # | #
Pallet | Global | WB442884 | 2 | 2
Pallet cover / G10/ tub etc | eplastics | G10NAT0.060X24X48 | 1 | 1
Upper bus | WSI | PBuB001-EF | 1 | 1
Return bus | WSI | PBuB002-EF | 1 | 1
Vertical Bus Bar | WSI | PBuB004-EF | 1 | 1
Switch mount header & cage (1/mod) | WSI | PBuS001-EF | 0 | 0
Capacitor to Bus Adapter | WSI | PCaA001-EF | 16 | 16
Cable Header bus plate upper | WSI | PBuH001-OHEF | 1 | 1
Cable Header bus plate lower | WSI | PBuH002-OHEF | 1 | 1
Cable Header Standoff | WSI | PBuH003 | 2 | 2
Cable Header Support | WSI | PBuH004 | 2 | 2
Fiberglass Hex Nuts | McMaster | 91395A031 | 8 | 8
Safety resistor (stainless bus) | WSI | PBuR001-EF | 1 | 1
Mylar sheet | WSI | PBuB003-EF | 1 | 1
Tension straps for caps | McMaster | 29665T13 | 8 | 2
Vertical Bus Supports | WSI | PBuR002-EF | 2 | 2
G10 clamps for hot bus | WSI | PBuC001 PBuC002-PF | 30 | 12
Threaded Fiberglass Rod | WSI | PBuC003 | 24 | 8
Fiberglass Hex Nuts | McMaster | 91395A031 | 60 | 20
Bolts to downbus / resistor | McMaster | 90273A541 | 12 | 12
Oversize washers | McMaster | 90313A107 | 12 | 12
Hex Nuts | McMaster | 90473A029 | 12 | 12
Ground braid | WSI | PBuG001 | 1 | 1
1.7 Charging | Vendor | Model | #
See separate charging breakout
1.8 Dump | Vendor | Model | # | #
Tank | Staples | 182615CW135 | 2 | 2
Tank Lid | Staples | 1826CCW135 | 2 | 2
Copper sulfate | Alpha Chemicals | 608641946505 | 2 | 2
Electrode Bolts | McMaster | PDuD001 | 4 | 4
Electrode Nuts | McMaster | PDuD002 | 4 | 4
Water dump relays - 2 per switch | Ross | E-Series | 2 | 2
Bolts for relays |  |  | 16 | 16
Manual dump/safing stick - 1 per switch | HVR | PDuS001 | 1 | 1
Manual dump point - 1 per switch | McMaster | PDuS002 | 1 | 1
Dump relay mounting board - 1 per switch | eplastics | G10NAT0.060X24X48 | 1 | 1
Ground disconnect relay | Ross | E-Series | 1 | 1
NEMA Box | McMaster | 7561K64 | 1 | 1
AC Jack (IEC Plug panel mount) | Digikey |  | 1 | 1
Transformer | Surplus Sales | (TP) 1/8-11T35ST | 1 | 1
Fiber Reciever Board | WSI | WFiR001 | 1 | 1
Project Box |  | WFiR001 | 1 | 1
1.9 Harnessing | Vendor | Model | # | #
Cables (total feet) | Dielectric Sciences | SK160114-R1 | 250 | 250
Cable trays, supports | Mcmaster | 30065T13 | 1 | 1
Cable header | WSI | PHaC001-EF | 600 | 600
Bolts for inner and outer connectors | McMaster | 90128A223 | 70 | 70
Oversize Washers | McMaster | 90313A400 | 70 | 70
Hex nuts | McMaster | 90480A011 | 60 | 60
Strain relief | McMaster | 9402T61 | 20 | 20
Hardware/ties, etc | McMaster | 6912K54 | 50 | 50
1.10 Polarity Switch | Vendor | Model | # | #
Enclosure | NEMA Enclosures | N42H3008SSWP | 1 | 1
Interlock switch (verify lid closed - necessary?) | Digikey |  | 1 | 1
Knife switch - dpdt | Shop |  | 3 | 3
Connector | Shop |  | 6 | 6
Mounting hardware | McMaster |  | 120 | 120
1.11 Diagnostics | Vendor | Model | # | #
Analogue voltage monitor per switch | Digikey | 180-1069-ND | 1 | 1
I$_{monitor}$ per switch | PEM | See sep spec | 1 | 1
Slow V$_{monitor}$ per switch | WSI | See sep spec | 1 | 1
T current limiting ss bus resistor | WSI | See sep spec | 1 | 1
Water temp monitor - one for experiment | WSI | See sep spec | 1 | 1
Water dump temp monitor - 1 per sw. | WSI | See sep spec | 1 | 1
Thermistor/ T to V for anode | WSI | See sep spec | 1 | 1
Project Box | Digikey | See sep spec | 2 | 2
1.12 Interlocks | Vendor | Model | # | #
Kirk key box - one per enclosure | Kirk |  | 1 | 1
Wiring - Kirk key controls power to charge supply and dump relays | Digikey |  | 1 | 1
Misc hardware | McMaster |  | 100 | 100
Indicator lights in control room | Allied | See range | 3 | 3
Indicator lights at enclosure door | Allied | See range | 3 | 3

## GF Bank
|  |  | GF FULL OPS | GF DAY 1
1.3 Capacitors | Vendor | Model | # | #
Capacitor |  | NL1122-14KV | 30 | 2
Ring terminals | WSI | PCaF001 | 120 | 8
Post terminal | WSI | PCaF001 | 30 | 2
Fuse Wire | WSI | PCaF001 | 120 | 8
Return Bus to Capacitor Bolt | McMaster | 90273A541 | 30 | 30
Fuse Bolts to Bus | McMaster | 90273A194 | 120 | 120
Fuse ring terminal | McMaster | 1932-08-01 | 120 | 120
Bleed resistor | Ohmite | PCaB001 | 30 | 2
Burn guard | Coorstek | PCaB002 | 30 | 2
HV Wire | DaBurn | CRT18-10 | 12 | 12
Post terminal | Custom | Wire ?, Post 14mm | 30 | 2
Capacitor to Bus Adapter | Custom | PCaA001-GF | 60 | 4
1.4 Switches | Vendor | Model | # | #
Ignitron | Richardson | NL8900 | 3 | 1
Ignitron driver | Richardson | IG5F | 3 | 1
Transformer | Surplus Sales | Topaz | 1 | 1
Anode heater | McMaster | 3110K93 | 3 | 1
Lightbulb Holder | WSI | PSwA001 | 3 | 1
Lightbulb Clamp | WSI | PSwA001 | 3 | 1
Ignitron Cage | WSI | PSwC001 | 3 | 1
Water plumbing | McMaster |  | 3 | 1
Water flow switch | McMaster | 2660K22 | 3 | 1
Hardware | McMaster |  | 123 | 43
1.5 Diodes | Vendor | Model | # | #
High voltage, high current 'pucks' GFH | 5S/ABB | 5SDD 60N2800 | 1 | 1
High voltage, high current 'pucks' GFH | 5S/ABB | 5SDD 54N4000 | 6 | 6
Compression mount Updated | 5S/ABB | 5SAC 18V9021 | 1 | 1
Custom Compression Mount | 5S/Custom | 6 Diode Stack w/ parallel resistors | 1 | 1
Bus | WSI |  | 1 | 1
1.6 Buswork | Vendor | Model | # | #
Pallet | Global | WB442884 | 10 | 3
Pallet cover / G10/ tub etc | eplastics | G10NAT0.060X24X48 | 6 | 2
Upper bus | WSI | PBuB001-GF | 3 | 1
Return bus | WSI | PBuB002-GF | 3 | 1
Vertical Bus Bar | WSI | PBuB004-GF | 3 | 1
Switch mount header & cage (1/mod) | WSI | PBuS001-GF | 3 | 1
Capacitor to Bus Adapter | WSI | PCaA001-GF | 30 | 2
Cable Header bus plate upper | WSI | PBuH001-GF | 1 | 1
Cable Header bus plate lower | WSI | PBuH002-GF | 2 | 2
Cable Header Standoff | WS | PBuH003 | 8 | 8
Cable Header Support | WSI | PBuH004 | 8 | 8
Fiberglass Hex Nuts | McMaster | 91395A031 | 24 | 24
Safety resistor (stainless bus) | WSI | PBuR001-GF | 3 | 1
Mylar sheet | WSI | PBuB003-GF | 3 | 1
Tension straps for caps | McMaster | 29665T13 | 30 | 2
Vertical Bus Supports | WSI | PBuR002-GF | 6 | 2
G10 clamps for hot bus | WSI | PBuC001 PBuC002-PF | 150 | 10
Threaded Fiberglass Rod | WSI | PBuC003 | 120 | 8
Bolts to downbus / resistor | McMaster | 90273A541 | 36 | 36
Oversize washers | McMaster | 90313A107 | 36 | 36
Hex Nuts | McMaster | 90473A029 | 36 | 36
Ground braid | McMaster | PBuG001 | 3 | 1
1.7 Charging | Vendor | Model | #
See separate charging breakout
1.8 Dump | Vendor | Model | # | #
Tank | Staples | 182615CW135 | 9 | 3
Tank Lid | Staples | 1826CCW135 | 9 | 3
Copper sulfate | Alpha Chemicals | 608641946505 | 9 | 9
Electrode Bolts | McMaster | PDuD001 | 18 | 2
Electrode Nuts | McMaster | PDuD002 | 18 | 2
Water dump relays - 2 per switch | Ross | E-Series | 9 | 1
Bolts for relays |  |  | 72 | 8
Manual dump/safing stick - 1 per switch | HVR | PDuS001 | 1 | 1
Manual dump point - 1 per switch | McMaster | PDuS002 | 3 | 1
Dump relay mounting board - 1 per switch | eplastics | G10NAT0.060X24X48 | 3 | 1
Ground disconnect relay | Ross | E-Series | 3 | 1
NEMA Box | McMaster | 7561K64 | 3 | 1
Transformer | Surplus Sales | (TP) 1/8-11T35ST | 3 | 1
Fiber Reciever Board | WSI | WFiR001 | 3 | 1
Project Box |  | WFiR001 | 3 | 1
1.9 Harnessing | Vendor | Model | # | #
Cables (total feet) | Dielectric Sciences | SK160114-R1 | 250 | 250
Cable trays, supports | Mcmaster | 30065T13 | 1 | 1
Cable header | WSI/Custom | PHaC001-GF | 600 | 600
Bolts for inner and outer connectors | McMaster | 90128A223 | 154 | 56
Oversize Washers | McMaster | 90313A400 | 154 | 56
Hex nuts | McMaster | 90480A011 | 130 | 48
Strain relief | McMaster | 9402T61 | 20 | 20
Hardware/ties, etc | McMaster | 6912K54 | 50 | 50
1.10 Polarity Switch | Vendor | Model | # | #
Enclosure | NEMA | N42H3008SSWP | 1 | 1
Interlock switch (verify lid closed - necessary?) | Digikey |  | 1 | 1
Knife switch - dpdt | Shop |  | 3 | 3
Connector | Shop |  | 6 | 6
Mounting hardware | McMaster |  | 120 | 120
1.11 Diagnostics | Vendor | Model | # | #
Analogue voltage monitor per switch | Digikey | 180-1069-ND | 3 | 1
I$_{monitor}$ per switch | PEM | See sep spec | 3 | 1
Slow V$_{monitor}$ per switch | WSI | See sep spec | 3 | 1
T current limiting ss bus resistor | WSI | See sep spec | 3 | 1
Water temp monitor - one for experiment | WSI | See sep spec | 3 | 1
Water dump temp monitor - 1 per sw. | WSI | See sep spec | 9 | 1
Thermistor/ T to V for anode | WSI | See sep spec | 3 | 1
Project Box | Digikey | See sep spec | 6 | 1
1.12 Interlocks | Vendor | Model | # | #
Kirk key box - one per enclosure | Kirk |  | 1 | 1
Wiring - Kirk key controls power to charge supply and dump relays | Digikey |  | 1 | 1
Misc hardware | McMaster |  | 100 | 100
Indicator lights in control room | Allied | See range | 3 | 3
Indicator lights at enclosure door | Allied | See range | 3 | 3

## PF-A PF-B Banks
|  |  | PF-A&B FULL OPS | PF-A&B DAY 1
1.3 Capacitors | Vendor | Model | # | #
Capacitor |  | NL440-20KV | 12 | 2
Ring terminals | McMaster | Wire 16-14, Screw #10 | 48 | 8
Post terminal | Custom | Wire ~4mm Post 14mm | 12 | 2
Fuse Wire | MWS | AWG 15 | 48 | 8
Return Bus to Capacitor Bolt | McMaster | 90273A541 | 12 | 2
Fuse Bolts to Bus | McMaster | 90273A194 | 48 | 8
Fuse ring terminal | McMaster | 1932-08-01 | 48 | 8
Bleed resistor | Ohmite | Ohmite Mox-F | 12 | 2
Burn guard | Coorstek | 66457 | 12 | 2
HV Wire | DaBurn | CRT18-10 | 12 | 12
Capacitor to Bus Adapter | Custom | PCaA001-PF | 24 | 4
1.4 Switches | Vendor | Model | # | #
Ignitron | Richardson | NL8900 | 10 | 3
Ignitron driver | Richardson | IG5F | 10 | 3
Transformer | Surplus Sales | Topaz | 2 | 1
Anode heater | McMaster | 3110K93 | 10 | 3
Lightbulb Holder | WSI | PSwA001 | 10 | 3
Lightbulb Clamp | WSI | PSwA001 | 10 | 3
Ignitron Cage | WSI | PSwC001 | 10 | 3
Water plumbing | McMaster |  | 1 | 1
Water flow switch | McMaster | 2660K22 | 10 | 3
Hardware | McMaster |  | 200 | 200
1.5 Diodes | Vendor | Model | # | #
High voltage, high current 'pucks' Updated | 5S/ABB | 5SDD 60N2800 | 0 | 0
Compression mount Updated | 5S/ABB | 5SAC 18V9021 | 0 | 0
Compression Mount bottom | 5S/ABB |  | 0 | 0
Bus | WSI/Custom |  | 0 | 0
1.6 Buswork | Vendor | Model | # | #
Pallet | Global | WB442884 | 6 | 3
Pallet cover / G10/ tub etc | eplastics | G10NAT0.060X24X48 | 4 | 2
Upper bus | WSI | PBuB001-PF | 2 | 1
Return bus | WSI | PBuB002-PF | 2 | 1
Vertical Bus Bar | WSI | PBuB004-PF | 2 | 1
Switch mount header & cage (1/mod) | WSI | PBuS001-PF | 4 | 2
Crowbar mount header & cage (1/mod) | WSI |  | 6 | 3
Capacitor to Bus Adapter | WSI | PCaA001-PF | 12 | 2
Cable Header bus plate upper | WSI | PBuH001-PF | 1 | 1
Cable Header bus plate lower | WSI | PBuH002-PF | 1 | 2
Cable Header bus plate rear | WSI | PBuH005-PF | 2 | 2
Cable Header Standoff | WSI | PBuH003 | 2 | 8
Cable Header Support | WSI | PBuH004 | 8 | 8
Fiberglass Hex Nuts | McMaster | 3/8" | 24 | 24
Safety resistor (stainless bus) | WSI | PBuR001-PF | 2 | 1
Mylar sheet | WSI | PBuB003-PF | 2 | 1
Tension straps for caps | McMaster | 29665T13 | 6 | 3
Vertical Bus Supports | WSI | PBuR002-PF | 6 | 2
G10 clamps for hot bus | WSI | PBuC001 PBuC002-PF | 60 | 10
Threaded Fiberglass Rod | WSI | PBuC003 | 48 | 8
Bolts to downbus / resistor | McMaster | 90273A541 | 40 | 40
Oversize washers | McMaster | 90313A107 | 40 | 40
Hex Nuts | McMaster | 90473A029 | 40 | 40
Ground braid | McMaster | PBuG001 | 2 | 1
1.7 Charging | Vendor | Model | #
See separate charging breakout
1.8 Dump | Vendor | Model | # | #
Tank | Staples | 182615CW135 | 4 | 2
Tank Lid | Staples | 1826CCW135 | 4 | 2
Copper sulfate | Alpha Chemicals | 608641946505 | 4 | 4
Electrode Bolts | McMaster | PDuD001 | 8 | 4
Electrode Nuts | McMaster | PDuD002 | 8 | 4
Water dump relays - 2 per switch | Ross | E-Series | 4 | 2
Bolts for relays |  |  | 32 | 16
Manual dump/safing stick - 1 per switch | HVR | PDuS001 | 1 | 1
Manual dump point - 1 per switch | McMaster | PDuS002 | 2 | 2
PPE for abnormal safing | McMaster |  | 2 | 2
Dump relay mounting board - 1 per switch | eplastics | G10NAT0.060X24X48 | 2 | 2
Ground disconnect relay | Ross | E-Series | 2 | 2
NEMA Box | McMaster | 7561K64 | 2 | 2
AC Jack (IEC Plug panel mount) | Digikey |  | 2 | 2
Transformer | Surplus Sales | (TP) 1/8-11T35ST | 2 | 2
Fiber Reciever Board | WSI | WFiR001 | 2 | 2
Project Box |  | WFiR001 | 2 | 2
1.9 Harnessing | Vendor | Model | # | #
Cables (total feet) | Dielectric Sciences | SK160114-R1 | 960 | 960
Cable trays, supports | Mcmaster | 30065T13 | 1 | 1
Cable header | WSI | PHaC001-DC | 28 | 28
Bolts for inner and outer connectors | McMaster | 90128A223 | 336 | 336
Oversize Washers | McMaster | 90313A400 | 336 | 336
Hex nuts | McMaster | 90480A011 | 288 | 288
Strain relief | McMaster | 9402T61 | 20 | 20
Hardware/ties, etc | McMaster | 6912K54 | 50 | 50
1.10 Polarity Switch | Vendor | Model | # | #
Enclosure | NEMA | This | 0 | 0
Interlock switch (verify lid closed - necessary?) | Digikey |  | 0 | 0
Knife switch - dpdt | Shop |  | 0 | 0
Connector | Shop |  | 0 | 0
Mounting hardware | McMaster |  | 0 | 0
1.11 Diagnostics | Vendor | Model | # | #
Analogue voltage monitor per switch | Digikey | 180-1069-ND | 2 | 2
I$_{monitor}$ per switch | PEM | See sep spec | 2 | 2
Slow V$_{monitor}$ per switch | WSI | See sep spec | 2 | 2
T current limiting ss bus resistor | WSI | See sep spec | 2 | 2
Water temp monitor - one for experiment | WSI | See sep spec | 2 | 2
Water dump temp monitor - 1 per sw. | WSI | See sep spec | 4 | 4
Thermistor/ T to V for anode | WSI | See sep spec | 2 | 2
Project Box | Digikey | See sep spec | 2 | 2
1.12 Interlocks | Vendor | Model | # | #
Kirk key box - one per enclosure | Kirk |  | 1 | 1
Wiring - Kirk key controls power to charge supply and dump relays | Digikey |  | 2 | 2
Misc hardware | McMaster |  | 100 | 100
Indicator lights in control room | Allied | See range | 3 | 3
Indicator lights at enclosure door | Allied | See range | 3 | 3

## TF-A TF-B Banks
|  |  | TF-A&B Full OPS | TF-A&B DAY 1
1.3 Capacitors | Vendor | Model | # | #
Capacitors | Richardson | NL400-20KV | 4 | 2
Ring terminals | McMaster | 9388K43 | 16 | 8
Post terminal | Custom | PCaF001-TF | 4 | 2
Fuse Wire | MWS | AWG 15 | 16 | 8
Return Bus to Capacitor Bolt | McMaster | 90273A541 | 4 | 2
Fuse Bolts to Bus | McMaster | 90273A194 | 24 | 8
Fuse ring terminal | McMaster |  | 24 | 8
Bleed resistor | Ohmite | PCaB001-TF | 4 | 2
Burn guard | Coorstek | PCaB002 | 4 | 2
HV Wire | DaBurn | CRT18-10 | 6 | 6
Capacitor to Bus Adapter | Custom | PCaA001-TF
1.4 Switches | Vendor | Model | # | #
Ignitron | Richardson | NL8900 | 6 | 3
Ignitron driver | Richardson | IG5F | 6 | 3
Transformer | Surplus Sales | (TP) 1/8-11T35ST | 2 | 2
Anode heater | McMaster | 3110K93 | 6 | 3
Lightbulb Holder | WSI | PSwA001 | 6 | 2
Lightbulb Clamp | WSI | PSwA001 | 6 | 2
Ignitron Cage | WSI | PSwC001 | 6 | 2
Water plumbing | McMaster |  | 1 | 1
Water flow switch | McMaster | 2660K22 | 6 | 3
Hardware | McMaster |  | 243 | 123
1.5 Diodes | Vendor | Model | # | #
High voltage, high current 'pucks' Updated | 5S/ABB | 5SDD 60N2800 | 0 | 0
Compression mount Updated | 5S/ABB | 5SAC 18V9021 | 0 | 0
Compression Mount bottom | 5S/ABB |  | 0 | 0
Bus | WSI/Custom |  | 0 | 0
1.6 Buswork | Vendor | Model | # | #
Pallet | Global | WB442884 | 3 | 3
Pallet cover / G10/ tub etc | eplastics | G10NAT0.060X24X48 | 2 | 2
Upper bus | WSI | PBuB001-TF | 2 | 2
Return bus | WSI | PBuB002-TF | 2 | 2
Vertical Bus Bar | WSI | PBuB004-TF | 2 | 2
Switch mount header & cage (1/mod) | WSI | PBuS001-TF | 2 | 2
Crowbar mount header & cage (1/mod) | WSI | PBuS002-TF | 4 | 4
Capacitor to Bus Adapter | WSI | PCaA001-TF | 8 | 8
Cable Header bus plate upper | WSI | PBuH001-TF | 1 | 1
Cable Header bus plate lower | WSI | PBuH002-TF | 1 | 1
Cable Header Standoff | WSI | PBuH003 | 2 | 2
Cable Header Support | WSI | PBuH004 | 2 | 2
Fiberglass Hex Nuts | McMaster | 3/8" | 8 | 8
Safety resistor (stainless bus) | Alaska C&B | PBuR001-TF | 2 | 2
Mylar sheet | McMaster | PBuB003-TF | 2 | 2
Tension straps for caps | McMaster | 29665T13 | 4 | 2
Vertical Bus Supports | McMaster | PBuR002-TF | 4 | 4
G10 clamps for hot bus | McMaster | PBuC001 PBuC002-TF | 20 | 10
Threaded Fiberglass Rod | McMaster | PBuC003 | 16 | 8
Fiberglass Hex Nuts | McMaster | 3/8" | 40 | 20
Bolts to downbus / resistor | McMaster | 90273A541 | 40 | 40
Oversize washers | McMaster | 90313A107 | 40 | 40
Hex Nuts | McMaster | 90473A029 | 40 | 40
Ground braid | McMaster | PBuG001 | 2 | 1
1.7 Charging | Vendor | Model | #
See separate charging breakout
1.8 Dump | Vendor | Model | # | #
Tank | Staples | 182615CW135 | 2 | 2
Tank Lid | Staples | 1826CCW135 | 2 | 2
Copper sulfate | Alpha Chemicals | 608641946505 | 3 | 3
Electrode Bolts | McMaster | PDuD001 | 4 | 4
Electrode Nuts | McMaster | PDuD002 | 4 | 4
Water dump relays - 2 per switch | Ross | E-Series | 2 | 2
Manual dump/safing stick - 1 per switch | HVR | PDuS001 | 1 | 1
Manual dump point - 1 per switch | McMaster | PDuS002 | 2 | 2
Dump relay mounting board - 1 per switch | eplastics | G10NAT0.060X24X48 | 2 | 2
Ground disconnect relay | Ross | E-Series | 2 | 2
NEMA Box | McMaster | 7561K64 | 2 | 2
AC Jack (IEC Plug panel mount) | Digikey |  | 2 | 2
Isolation TransformerTransformer Surplus Sales (TP) 1/8-11T35ST |  |  | 2 | 2
Fiber Reciever Board | WSI | WFiR001 | 2 | 2
Project Box |  | WFiR001 | 2 | 2
1.9 Harnessing | Vendor | Model | # | #
Cables (total feet) | Dielectric Sciences | SK160114-R1 | 280 | 280
Cable trays, supports | Mcmaster | 30065T13 | 1.4 | 1
Cable header | WSI | PHaC001-DC | 28 | 28
Bolts for inner and outer connectors | McMaster | 90128A223 | 196 | 196
Oversize Washers | McMaster | 90313A400 | 196 | 196
Hex nuts | McMaster | 90480A011 | 168 | 168
Strain relief | McMaster | 9402T61 | 20 | 20
Hardware/ties, etc | McMaster | 6912K54 | 50 | 50
1.10 Polarity Switch | Vendor | Model | # | #
Enclosure | NEMA | N42H3008SSWP | 1 | 1
Interlock switch (verify lid closed - necessary?) | Digikey |  | 1 | 1
Knife switch - dpdt | Shop |  | 3 | 3
Connector | Shop |  | 6 | 6
Mounting hardware | McMaster |  | 120 | 120
14.9 Diagnostics | Vendor | Model | # | #
Analogue voltage monitor per switch | Digikey | 180-1069-ND | 2 | 2
I$_{monitor}$ per switch | PEM | See sep spec | 2 | 2
Slow V$_{monitor}$ per switch | WSI | See sep spec | 2 | 2
T current limiting ss bus resistor | WSI | See sep spec | 2 | 2
Water temp monitor - one for experiment | WSI | See sep spec | 2 | 2
Water dump temp monitor - 1 per sw. | WSI | See sep spec | 4 | 4
Thermistor/ T to V for anode | WSI | See sep spec | 2 | 2
Project Box | Digikey | See sep spec | 2 | 2
14.11 Interlocks | Vendor | Model | # | #
Kirk key box - one per enclosure | Kirk |  | 1 | 1
Wiring - Kirk key controls power to charge supply and dump relays | Digikey |  | 2 | 2
Misc hardware | McMaster |  | 100 | 100
Indicator lights in control room | Allied | See range | 3 | 3
Indicator lights at enclosure door | Allied | See range | 3 | 3

## DC-I DC-O Banks
DC-I&O FULL OPS
1.3 Capacitors | Vendor | Model | #
Capacitor | Richardson | NL2.8-60KV | 1
Capacitor | Richardson | NL7.5-60KV | 1
Bus bolts | McMaster | #10 | 24
Bus nuts | McMaster | #10 | 24
Bleed resistor | Ohmite | Ohmite Mox-G | 2
Burn guard | Coorstek | 66457 | 2
1.4 Switches | Vendor | Model | #
Thyratron | Pulse Power | TDI4-100k/75H | 2
Thyratron Heater Driver | Pulse Power | THYHTR38-58-40 | 2
Thyratron Trigger Driver | Pulse Power | THYDRV6-200 | 2
Steel posts from anode adpter | Mcmaster | 98535A164 | 2
Steel posts from cathode adapter | Mcmaster | 98535A164 | 3
1.5 Diodes | Vendor | Model | #
High voltage, high current 'pucks' GFH | VRE | 15kV | 10
1.6 Buswork | Vendor | Model | #
Pallet | Global | WB442884 | 2
Pallet cover / G10/ tub etc | eplastics | G10NAT0.060X24X48 | 2
Anode plate | WSI | PSwD001 | 2
Diode clamp lower | WSI | PSwD001 | 2
Diode clamp upper | WSI | PSwD001 | 2
Nipple | WSI | PSwN001 | 2
Cap header | WSI | PSwN002-DC1 | 1
Cap header | WSI | PSwN002-DCO | 1
Nipple cap | WSI | PSwN003 | 2
Tension straps for caps | McMaster | 29665T13 | 4
Nuts and bolts | McMaster | 90273A194 | 30
Ground braid. | McMaster |  | 1
Mylar sheet | WSI | PBuB003 | 1
1.7 Charging | Vendor | Model | #
See separate charging breakout
1.8 Dump | Vendor | Model | #
Tank | Staples | 182615CW135 | 2
Tank Lid | Staples | 1826CCW135 | 2
Copper sulfate | Alpha Chemicals | 608641946505 | 3
Electrode Bolts | McMaster | PDuD001 | 4
Electrode Nuts | McMaster | PDuD002 | 4
Water dump relays - 2 per switch | Ross | E-Series | 2
Manual dump/safing stick - 1 per switch | HVR | PDuS001 | 1
Manual dump point - 1 per switch | McMaster | PDuS002 | 2
Ground disconnect relay | Ross | E-Series | 1
NEMA Box | McMaster | 7561K64 | 2
Transformer | Surplus Sales | (TP) 1/8-11T35ST | 2
Fiber Reciever Board | WSI | WFiR001 | 2
1.9 Harnessing | Vendor | Model | #
Cables (total feet) | Dielectric Sciences | SK160114-R1 | 100
Cable trays, supports | Mcmaster | 30065T13 | 1
Cable header | WSI/Custom | PHaC001-DC | 1
Bolts for inner and outer connectors | McMaster | 90128A223 | 28
Oversize Washers | McMaster | 90313A400 | 28
Hex nuts | McMaster | 90480A011 | 24
Strain relief | McMaster | 9402T61 | 20
Hardware/ties, etc | McMaster | 6912K54 | 50
1.10 Polarity switch
No polarity switch needed. |  |  | 0
1.11 Diagnostics | Vendor | Model | #
Analogue voltage monitor per switch | Digikey | 180-1069-ND | 2
I$_{monitor}$ per switch | PEM | See sep spec | 2
Slow V$_{monitor}$ per switch | WSI | See sep spec | 2
T current limiting ss bus resistor | WSI | See sep spec | 2
Water temp monitor - one for experiment | WSI | See sep spec | 2
Water dump temp monitor - 1 per sw. | WSI | See sep spec | 2
Thermistor/ T to V for anode | WSI | See sep spec | 2
Project Box | Digikey | See sep spec | 2
1.12 Safety | Vendor | Model | #
Kirk key box - one per enclosure | Kirk |  | 1
Wiring - Kirk key controls power to charge supply and dump relays | Digikey |  | 2
Misc hardware | McMaster |  | 100
Indicator lights in control room | Allied | See range | 3
Indicator lights at enclosure door | Allied | See range | 3

## Chargers
|  |  |  | OH | EF | GF | PF-A&B | TF-A&B | DC-I | DC-O
14.6 Charge | Vendor | Model/Spec | Lead | # | # | # | # | # | # | #
Supply rack
19" rack
Charge Supply | TDK-Lambda | 802L-10kV-{POS¦NEG}-208VAC | 8wk
Charge Supply | TDK-Lambda | 402L-10kV-{POS¦NEG}-208VAC | 8wk | 2 |  | 6 | 4
Charge Supply | TDK-Lambda | 402L-1kV-{POS¦NEG}-208VAC | 8wk |  | 2
Charge Supply | Spellman | SLM10*1200 | 6-8wk |  |  |  |  | 4
Charge Supply | Ultravolt | 30C24-{P¦N}60 | 0 | [5 empty] | 2
Charge Supply | Ultravolt | 30C24-{P¦N}125 | 0 | [6 empty] | 2
Long Charge Adapter | TDK-Lambda | LCA | 8wk | 2 | 2 | 6 | 4
Chassis slides | Newark | CTS-124 | 0 | 2 | 2 | 6 | 4 |  | 1
24VDC supply, 350W | Mouser | Mean Well LRS-350-24 | 0 | [5 empty] | 1
Enclosure (ganging supplies)
Protection resisitors | Digikey | 2kW wirewound | 0 | 2 | 2 | 6 | 4 | 4 | 2 | 2
Output Diodes | EDAL | B412-50-25 | 4wk | 2 | 2 | 6 | 4 | 4 | 2 | 2
Proprietary Cables | varies (contingency) | [7 empty] | 2 | 2
Disconnect & on-module
Charge resistors | Digikey | 2kW wirewound | 0 | 2 | 2 | 6 | 4 | 4 | 2 | 2
Protection diode | EDAL | B412-50-25 (B980-125 for 60kV) | 4wk | 2 | 1 | 21 | 4 | 2 | 1 | 1
Ceramic Standoff | Newark | Keystone 7677 | 0 | 20 | 20 | 60 | 40 | 40 | 20 | 20
Charge connect relay | Ross | E40-2PNO | 7wk | 1 |  | 3 | 2 | 2 |  | 2
Charge connect relay | Ross | E60-2PNO | 7wk | [5 empty] | 1 | 1
Charge connect enclosure | Grainger | CQ1602Q | 0 | [5 empty] | 1 | 1
Bolts |  |  |  | 86 | 82 | 288 | 172 | 152 | 86 | 86
Note on G6: Frank Hoffmann: Might be cheaper to use 2 x 802 and 2 x 402, or 4 x 802

## DAQ
| Dimensions/Note | Quantity | Cost Each | Total |  | Vendor
Rack
Rack | 20u rack with doors | 1 | 1000 | 1000 |  | eBay
Control computer
PC | Basic PC that can take the PCIe card | 1 | 800 | 800
Fiber boards | x3 Boards
PCB Board |  | 4 | 119.29 | 477.16 |  | PCB123/Sunstone
Voltage Regulator | PN:LM78L05ACZFS-ND | 20 | 0.48 | 9.6 |  | Digikey
Fiber Optic Emitters | FB135-ND | 48 | 14 | 672 |  | Digikey
Fiber Optic Emitters | FB135-ND | 10 | 18.75 | 187.5 |  | Digikey
365Ohm Resistors | 94C5081 | 48 | 0.01 | 0.48 |  | Newark
100pF Caps | 490-4190-ND | 48 | 0.01 | 0.48 |  | Digikey
1000 muF Caps | 493-1623-ND | 3 | 0.05 | 0.15 |  | Digikey
3.3 muF Caps | 399-4437-ND | 72 | 2.29 | 164.88 |  | Digikey
10 muF Caps | P818-ND | 48 | 0.01 | 0.48 |  | Digikey
IC Gates | 74AC08PC-ND, Fairchild 74AC08PC | 24 | 0.63 | 15.12 |  | Digikey
IC Gates | 74AC08PC-ND, Fairchild 74AC08PC | 30 | 0.4 | 12 |  | Newark
150 Ohm Resistors | 150QBK-ND | 48 | 0.01 | 0.48 |  | Digikey
Cable Connector | 777600-01, 68-POS Right Angle, PWB Mounting | 2 | 39 | 78 |  | NI
| 777600-01, 68-POS Right Angle, PWB Mounting | 4 | 39 | 156 |  | NI
Right Angle Jack | P/N: 43860-1010, Molex |  | 2.02 | 0 |  | Newark
Enclosure | CH-14400 | 1 | 39.6 | 39.6 |  | Allied elec
Voltage Divider
1MOhm Resistor | 2W 5% | 6 | 0.07 | 0.42 |  | Farnell
1000M Resistor | Ohmite, MOX-2-12E, 1%, MOX2FE-1000M-ND | 6 | 14.33 | 85.98 |  | Digikey
Heat shrink
Total |  |  |  | 3700.33 | 0 | 0
Your Configuration ID is: PX4916726
Controller
Part Number | Model | Description | Quantity | Price
781039-01 | NI PXIe-PCIe8375, 10m Cable | NI PXIe-PCIe8375 x4 MXI-Express Kit with Fiber Optic Cable, 10 m | 1 | 3949
|  | Standard Repair Coverage | 1
|  |  | Subtotal: | 3949
Modules
778771-01 | NI PXI-6133/16 MSamples | NI PXI-6133 16 MS Memory S Series Multifunction DAQ Module | 2 | 3086
|  | Standard Repair and Traceable Calibration Coverage | 2
779554-01 | TB-2709 | TB-2709 PXI Front-Mount SMB Terminal Blk for PXI-6123 & PXI-6133 | 2 | 234
|  | Standard Repair Coverage | 1
763389-01 | SMB-100, SMB Female to BNC Female Coax Cable, 50 Ohms, 0.6m, Qty 1 | SMB-100, SMB to BNC Female | 2 | 68
779630-01 | NI PXI-6229 | NI PXI-6229 (32 Analog Inputs, 48 Digital I/O, 4 Analog Outputs) | 2 | 1173
|  | Standard Repair and Traceable Calibration Coverage | 2
782536-01 | SCB-68A | SCB-68A Noise Rejecting, Shielded I/O Connector Block | 2 | 330
|  | Standard Repair Coverage | 1
782536-01 | SCB-68A | SCB-68A Noise Rejecting, Shielded I/O Connector Block | 2 | 330
|  | Standard Repair Coverage | 1
192061-02 | SHC68-68-EPM Cable (2m) | SHC68-68-EPM Shielded Cable, 68-D-Type to 68 VHDCI Offset, 2 m | 2 | 143
192061-02 | SHC68-68-EPM Cable (2m) | SHC68-68-EPM Shielded Cable, 68-D-Type to 68 VHDCI Offset, 2 m | 2 | 143
782110-01 | NI PXI-6683H | NI PXI-6683H GPS,IRIG-B, IEEE 1588 Sync and Time Module with TCXO | 1 | 2199
|  | Standard Repair Coverage | 1
188858-01 | SMB 210 Cable, Dual SMB Plug to Dual SMB Plug Coax, 50 Ohm (1m) | SMB 210 Cable, Dual SMB Plug to Dual SMB Plug Coax, 50 Ohm, 1M | 1 | 112
|  |  | Subtotal: | 13325
Chassis
781622-01 | NI PXIe-1078 | NI PXIe-1078, 9-Slot 3U PXI Express Chassis | 1 | 2435
|  | Standard Repair Coverage | 1
763000-01 | United States 120VAC | Power Cord, AC, U.S., 120 VAC, 2.3 meters | 1 | 9
|  |  | Subtotal: | 2444
Services
SRV-PX4916726 | Standard Services | Standard Service Program for PXI Systems | 1 | 3529.61
|  |  | Subtotal: | 3529.61
Software
776678-35 | NI LabVIEW Professional Development System for Windows | LabVIEW Professional Development System, Windows, English, Include 1 Year SSP | 1 | 4999
|  |  | Subtotal: | 4999
|  |  | Total: | 28247
|  |  | Discounted Total: | 28246.61
|  |  | You Save: | $ 622.87 (2%)
National Instruments Corporation
11500 N Mopac Expwy
Austin, TX 78759-3504
Phone: (800) 531-5066
Fax: 512-683-8411
Fax: 512-683-8411
16.09.1 Diagnostics parts list
| Dimensions/Note | Quantity | Cost Each | Total | Vendor
Fast current monitors
I$_{monitor}$ per switch | PEM CWT B | 16 | 1200 | 19200 | PEM
Coax cable | From rog to DAQ, 16 off | 16 | 20 | 320
Bus clamp | 3D printed plastic piece, 10cm diameter | 16 | 20 | 320
Cable ties | 3 per | 48 | 0.1 | 4.8
Analogue voltage
Analogue voltage indicator | 180-1069-ND | 16 | 70 | 1120 | Digikey
Panel | 1/4" plexiglass colored | 1 | 120 | 120 | https://www.acrylite-shop.com
Brackets for mounting panel |  | 9 | 3 | 27 | Mcmaster
Twisted pairs | 30ft * 16 = 600ft | 0.6 | 600 | 360 | Digikey
Bolts for indicator to panel |  | 12 | 0.1 | 1.2 | McMaster
Bolts for panel to brackets |  | 12 | 0.1 | 1.2 | McMaster
Temperature sensors
Thermistors | http://www.vishay.com/thermistors/ntc/ | 16 | 0.75 | 12 | Vishay | http://www.ametherm.com/thermistor/ntc-thermistors-temperature-measurement-with-wheatstone-bridge
V to f boards | x12 Boards for Day 1, 45 for full Ops |  |  | 0
PCB Boards | 1 set of 4 measurements per switch | 11 | 119.29 | 1312.19 | PCB123/Sunstone
components (see below) |  | 11 | 80.63 | 886.93
Fiber optic cable |  | 550 | 0.25 | 137.5
f to V boards | x12 Boards for Day 1, 45 for full Ops
PCB Boards | 1 set of 4 measurements per switch | 11 | 119.29 | 1312.19 | PCB123/Sunstone
components (see below) |  | 11 | 0.1 | 886.93
Fiber optic cable |  | 550 | 0.25 | 137.5
Voltage Divider
1MOhm Resistor | 2W 5% | 11 | 0.07 | 0.77 | Farnell
1000M Resistor | Ohmite, MOX-2-12E, 1%, MOX2FE-1000M-ND | 11 | 14.33 | 157.63 | Digikey
Heat shrink
tOTAL |  |  |  | 26317.84 | 0 | 0
Optical Reverse Tachometer
No. | Item Description | Part Number | Distributer | Cost/each | Quantity | Subtotal
Resistors
R1 | 5 kΩ resistor 1% | 4.99KXBK-ND | Digikey | 0.1 | 1 | 0.1
R2 | 47 Ω resistor 5% | 47QBK-ND | Digikey | 0.1 | 1 | 0.1
R3, R4 | 100 kΩ resistor 5% | 100KWCT-ND | Digikey | 0.15 | 2 | 0.3
R5 | 12 kΩ resistor 5% | 12QBK-ND | Digikey | 0.1 | 1 | 0.1
R6 | 6.8 kΩ resistor 5% | 6.8KQBK-ND | Digikey | 0.1 | 1 | 0.1
R7 | 1 kΩ resistor 5% | 1.0KQBK-ND | Digikey | 0.1 | 1 | 0.1
Capacitors | [5 empty] | 0
C1 | 1 μF electrolytic capacitor | 493-10419-1-ND | Digikey | 0.26 | 1 | 0.26
C2 | 0.1 μF electrolytic capacitor | 493-12624-1-ND | Digikey | 0.25 | 1 | 0.25
C3 | 10 nF electrolytic capacitor | 399-4206-ND | Digikey | 0.24 | 1 | 0.24
I.C.s and Semiconductors |  |  |  |  | 0
U1 | Voltage to Frequency converter LM331 | LM331N/NOPB-ND | Digikey | 2.43 | 1 | 2.43
Circuit board | Circuit board |  | OSH Park | 10 | 1 | 10
13.98
Fiber Optic Transmitter
Resistors
R1 | 200 Ω resistor 5% | 200QBK-ND | Digikey | 0.1 | 1 | 0.1
R2 | 1 kΩ resistor 5% | 1.0KQBK-ND | Digikey | 0.15 | 1 | 0.15
R3 | 365 Ω resistor 5% | 365XBK-ND | Digikey | 0.1 | 1 | 0.1
R4 | 510 Ω resistor 5% | 510QBK-ND | Digikey | 0.1 | 1 | 0.1
I.C.s and Semiconductors |  |  |  |  | 0
Q1 | NPN transistor 2N2222A | PN2222ACS-ND | Digikey | 0.38 | 1 | 0.38
| Fiber optic transmitter | 516-2036-ND | Digikey | 21.62 | 1 | 21.62
Circuit board | Circuit board |  | OSH Park | 10 | 1 | 10
32.45
Resistors
R1, R4 | 300 Ω resistor 5% | 300QBK-ND | Digikey | 0.1 | 1 | 0.1
R2 | 1 kΩ resistor 5% | 1.0KQBK-ND | Digikey | 0.15 | 1 | 0.15
R3 | 10 kΩ resistor 5% | 10KQBK-ND | Digikey | 0.1 | 1 | 0.1
R5 | 5 kΩ resistor 5% | 4.99KXBK-ND | Digikey | 0.1 | 1 | 0.1
Capacitors | [5 empty] | 0
C1 | 0.1 μF electrolytic capacitor | 493-12624-1-ND | Digikey | 0.25 | 1 | 0.25
C2 | 15 pF ceramic capacitor | BC1003CT-ND | Digikey | 0.2 | 1 | 0.2
I.C.s and Semiconductors |  |  |  |  | 0
D1, D2, D3 | 100V high conductance diode 1N914B | 1N914BCT-ND | Digikey | 0.1 | 3 | 0.3
T1, T2 | NPN transistor 2N2222A | PN2222ACS-ND | Digikey | 0.38 | 2 | 0.76
| Fiber Optic Reciever 2412 | 516-2055-ND | Digikey | 21.62 | 1 | 21.62
| Voltage Regulator 5V LM7805CT | LM7805CT-ND | Digikey | 0.62 | 1 | 0.62
Circuit board | Circuit board |  | OSH Park | 10 | 1 | 10
34.2